Note for **Guy Brown 12345567**

At the time of writing, patient has MR Conditional PPM and lead system which may be scanned at HH with support from cardiac physiology:

PPM: Medtronic W2DR01 20/10/2024

A Lead: Medtronic 5076 20/10/2024

RV Lead: Medtronic 4074 20/10/2024

Scan in Normal Mode only

For full MR safety information, see email from [imperial.mrphysics@nhs.net](mailto:imperial.mrphysics@nhs.net) [20251022-01]